JAPANESE INDUSTRIAL STANDARD

JIS K 3850-1:2006

Determination of airborne fibrous particles—Part 1: Optical microscopy method and scanning electron microscopy method

December, 2018

ERRATUM

|  |  |  |  |
| --- | --- | --- | --- |
| Page | Position | Error | Correct |
| 16 | 6.3.3 d)  Formula (3)  where, | *Q* : the amount of suction air (L) | *Q* : the amount of suction air (L or cm3) |
| 17 | 6.3.4  Formula (4)  where, | *C*F : fibre concentration (f/L or f/cm3)  *N* : total number of counted fibres (f)  *N*b : blank value (f)  *a*E : area on the observed sample of 1 CRT screen area (mm2)  *Q* : the amount of suction air (L)  *S* : the required lower limit value of determination (f/L or f/cm3) | *C*F : fibre concentration (f/L or f/cm3)  *A* : filter effective area or filter area (mm2)  *N* : total number of counted fibres (f)  *N*b : blank value (f)  *a*E : area on the observed sample of 1 CRT screen area (mm2)  *n*E : the required number of counted CRT visual fields  *Q* : the amount of suction air (L or cm3) |
| 6.3.5 a)  Formula (5)  where,， | *S* : the required lower limit of determination (f/L or f/cm3)  ︙  *Q* : the amount of suction air (L) | *S* : the lower limit value of determination (f/L or f/cm3)  ︙  *Q* : the amount of suction air (L or cm3) |
| 18 | b)  Formula (6)  where, | *Q* : the amount of suction air (L) | *Q* : the amount of suction air (L or cm3) |